Public Works Department

TEST AND MAINTENANCE REPORT
BACK FLOW PREVENTION DEVICE

Owner ___________________________     Address___________________________

City ________________________   State __________  Zip _____________

Phone (____)____________ ___  Type of Device: R.P.________  D.C. ____________

Manufacturer __________________   Model __________   Serial#________ Size______

Owner’s Certification:

I hereby certify that the above backflow prevention assembly has been in constant use at this location during the entire prescribed interval between test periods and during that period this assembly was not by-passed, made inoperative or removed without proper authorization. All defects found during the operation period or during tests of the assembly were satisfactorily corrected without delay. I further certify that I have the responsibility and authority to insure the above.

Owner/Agent Signature ___________________  Title _______________  Date _______

Test Report:

|  | Double Check Valve |  | Reduced Pressure Principle |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Check Valve #1 | Check Valve #2 | Check Valve #1 | Check Valve #2 | Relief Valve |
| Initial Test | Closed Tight ‪ Leaked ‪ | Closed Tight ‪ Leaked ‪ | Closed Tight ‪ Leaked ‪ | Closed Tight ‪ Leaked ‪ | Opened at _______ p.s.i.d. |
| Repairs and Material Used |  |  |  |  |  |
| Test After Repair | Closed Tight ‪ | Closed Tight ‪ | Closed Tight ‪ | Closed Tight ‪ | Opened at _______ p.s.i.d. |

Test Certification: I certify that the foregoing test report is correct:

Tester Signature _____________________  Cert.# ___________  Date _____________

Employer ________________________   Address ______________________________

City __________________________  State _________  Zip ______________

Forward a copy of test report to:

Village of Yellow Springs

100 Dayton Street

Yellow Springs, Ohio  45387

Attn: Johnnie Burns